## V162_6.2 MW
Wind farm installed capacity | 30 | MW |  |  | Gross AEP |  | 87246.7 | MWh/y |  | Loss efficiencies |  |  |  | Losses per turbine | Bat | Noise
Nr of WTGs | 6 |  |  |  | Losses |  | 11.1152 | % |  | Wakes | 95.4 |  |  | WTG1 | 0% | 0%
Lifetime | 35 | years |  |  | Uncertainty |  | 10 | % |  | Turbine availability | 97 |  |  | WTG2 | 0% | 0%
Opportunity cost of capital | 11 | % |  |  | Net P50 AEP |  | 77549.0622 | MWh/y |  | Electrical Losses | 98 |  |  | WTG3 | 0% | 0%
remuneration rate | 65 | EUR/MWh |  |  | Net P75 AEP |  | 72353.275 | MWh/y |  | Turbine Performance | 99 |  |  | WTG4 | 0% | 0%
[5 empty] | Net P90 AEP |  | 67622.7822 | MWh/y |  | Degradation not due to icing | 99.5 |  |  | WTG5 | 0% | 0%
CAPEX | [9 empty] | Degradation due to icing | 99.5 |  |  | WTG6 | 0.5% | 0%
WTG Capex per MW | 1.05 | MEUR/MW | [7 empty] | Noise Curtailment | 100 |  |  | WTG7 | 0% | 0%
Other Capex per MW | 0.35 | MEUR/MW | [7 empty] | Shadow Curtailment | 100 |  |  | WTG8 | 0% | 0%
Total CAPEX | 1.4 | MEUR/MW | [7 empty] | Bat Curtailment | 100 |  |  | WTG9 | 0% | 0%
Total CAPEX | 42 | MEUR | Present value since payable upfront | [6 empty] | Total Efficiency | 88.8848 | % |  | WTG10 | 0% | 0%
OPEX | [9 empty] | Total Loss | 11.1152 | % |  | Sum | 0.5% | 0%
O&M | 80000 | EUR/WTG/y | [11 empty] | Efficiency | 99.5 | 100
Wind farm O&M | 480000 | EUR/y
Calculations
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
AEP [MWh] |  | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 77549.0622 | 0 | 0 | 0 | 0 | 0
AEP revenue [EUR] |  | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 5040689.0404 | 0 | 0 | 0 | 0 | 0
OPEX [EUR] |  | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | 0 | 0 | 0 | 0 | 0
Net Revenue before taxes [EUR] |  | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 0 | 0 | 0 | 0 | 0
CAPEX [EUR] | -42000000
Cashflows [EUR] | -42000000 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 4560689.0404 | 0 | 0 | 0 | 0 | 0
PV Cashflows [EUR] | -42000000 | 4108728.8652 | 3701557.5362 | 3334736.5191 | 3004267.1343 | 2706546.9679 | 2438330.6017 | 2196694.2357 | 1979003.816 | 1782886.3207 | 1606203.8925 | 1447030.5338 | 1303631.1115 | 1174442.4428 | 1058056.2548 | 953203.8332 | 858742.192 | 773641.6144 | 696974.4274 | 627904.8896 | 565680.0807 | 509621.6943 | 459118.6435 | 413620.3996 | 372630.9906 | 335703.5951 | 302435.6713 | 272464.5687 | 245463.5754 | 221138.3563 | 199223.7444 | 179480.8508 | 161694.4602 | 145670.6848 | 131234.8512 | 118229.5957 | 0 | 0 | 0 | 0 | 0
NPV [EUR] | -1614005.0484
NPV [EUR] | -1614005.0484
IRR | 10.53%
LCOE calculation
PV CAPEX | 42000000
discounted O&M cashflows[EUR] |  | 480000 | 432432.4324 | 389578.768 | 350971.863 | 316190.8676 | 284856.6375 | 256627.6013 | 231196.0372 | 208284.7182 | 187643.8903 | 169048.5498 | 152295.9908 | 137203.5953 | 123606.8426 | 111357.5159 | 100322.0864 | 90380.258 | 81423.6559 | 73354.6449 | 66085.2657 | 59536.2754 | 53636.2841 | 48320.9767 | 43532.4114 | 39218.3887 | 35331.8817 | 31830.5241 | 28676.1478 | 25834.3674 | 23274.2049 | 20967.7521 | 18889.8668 | 17017.898 | 15331.4396 | 13812.1078 | 0 | 0 | 0 | 0 | 0
PV OPEX | 4718071.7475
discounted AEP [MWh] |  | 77549.0622 | 69864.02 | 62940.5585 | 56703.2059 | 51083.9693 | 46021.5939 | 41460.8954 | 37352.158 | 33650.5928 | 30315.8494 | 27311.576 | 24605.0235 | 22166.6878 | 19969.989 | 17990.9811 | 16208.0911 | 14601.8838 | 13154.8503 | 11851.2165 | 10676.7716 | 9618.7132 | 8665.5074 | 7806.7634 | 7033.1202 | 6336.1443 | 5708.2381 | 5142.5569 | 4632.9341 | 4173.8145 | 3760.1932 | 3387.5615 | 3051.8572 | 2749.4209 | 2476.9558 | 2231.4917 | 0 | 0 | 0 | 0 | 0
PV AEP [MWh] | 762254.2484
LCOE [EUR/MWh] | 61.2894