## V162_6.2 MW
Wind farm installed capacity | 22.5 | MW |  |  | Gross AEP |  | 86235.4 | MWh/y |  | Loss efficiencies |  |  |  | Losses per turbine | Bat | Noise
Nr of WTGs | 5 |  |  |  | Losses |  | 10.5562 | % |  | Wakes | 96 |  |  | WTG1 | 0% | 0%
Lifetime | 35 | years |  |  | Uncertainty |  | 10 | % |  | Turbine availability | 97 |  |  | WTG2 | 0% | 0%
Opportunity cost of capital | 11 | % |  |  | Net P50 AEP |  | 77132.2466 | MWh/y |  | Electrical Losses | 98 |  |  | WTG3 | 0% | 0%
remuneration rate | 65 | EUR/MWh |  |  | Net P75 AEP |  | 71964.3861 | MWh/y |  | Turbine Performance | 99 |  |  | WTG4 | 0% | 0%
[5 empty] | Net P90 AEP |  | 67259.3191 | MWh/y |  | Degradation not due to icing | 99.5 |  |  | WTG5 | 0% | 0%
CAPEX | [9 empty] | Degradation due to icing | 99.5 |  |  | WTG6 | 0.5% | 0%
WTG Capex per MW | 1.05 | MEUR/MW | [7 empty] | Noise Curtailment | 100 |  |  | WTG7 | 0% | 0%
Other Capex per MW | 0.35 | MEUR/MW | [7 empty] | Shadow Curtailment | 100 |  |  | WTG8 | 0% | 0%
Total CAPEX | 1.4 | MEUR/MW | [7 empty] | Bat Curtailment | 100 |  |  | WTG9 | 0% | 0%
Total CAPEX | 31.5 | MEUR | Present value since payable upfront | [6 empty] | Total Efficiency | 89.4438 | % |  | WTG10 | 0% | 0%
OPEX | [9 empty] | Total Loss | 10.5562 | % |  | Sum | 0.5% | 0%
O&M | 80000 | EUR/WTG/y | [11 empty] | Efficiency | 99.5 | 100
Wind farm O&M | 400000 | EUR/y
Calculations
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
AEP [MWh] |  | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 77132.2466 | 0 | 0 | 0 | 0 | 0
AEP revenue [EUR] |  | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 5013596.0311 | 0 | 0 | 0 | 0 | 0
OPEX [EUR] |  | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | -400000 | 0 | 0 | 0 | 0 | 0
Net Revenue before taxes [EUR] |  | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 0 | 0 | 0 | 0 | 0
CAPEX [EUR] | -31500000
Cashflows [EUR] | -31500000 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 4613596.0311 | 0 | 0 | 0 | 0 | 0
PV Cashflows [EUR] | -31500000 | 4156392.8209 | 3744498.0368 | 3373421.6548 | 3039118.6079 | 2737944.6918 | 2466616.8395 | 2222177.3329 | 2001961.5611 | 1803568.974 | 1624836.9135 | 1463817.0392 | 1318754.0894 | 1188066.7472 | 1070330.4029 | 964261.6242 | 868704.1659 | 782616.3657 | 705059.7889 | 635188.999 | 572242.3415 | 515533.641 | 464444.7216 | 418418.6681 | 376953.755 | 339597.9775 | 305944.1239 | 275625.3368 | 248311.1143 | 223703.7065 | 201534.8708 | 181562.9466 | 163570.2222 | 147360.5605 | 132757.2617 | 119601.1367 | 0 | 0 | 0 | 0 | 0
NPV [EUR] | 9354499.0404
NPV [EUR] | 9354499.0404
IRR | 14.52%
LCOE calculation
PV CAPEX | 31500000
discounted O&M cashflows[EUR] |  | 400000 | 360360.3604 | 324648.9733 | 292476.5525 | 263492.3897 | 237380.5312 | 213856.3344 | 192663.3644 | 173570.5985 | 156369.9086 | 140873.7915 | 126913.3257 | 114336.3294 | 103005.7022 | 92797.9299 | 83601.7387 | 75316.8817 | 67853.0466 | 61128.8708 | 55071.0547 | 49613.5628 | 44696.9035 | 40267.4806 | 36277.0095 | 32681.9906 | 29443.2348 | 26525.4367 | 23896.7898 | 21528.6395 | 19395.1707 | 17473.1268 | 15741.5556 | 14181.5817 | 12776.1997 | 11510.0898 | 0 | 0 | 0 | 0 | 0
PV OPEX | 3931726.4562
discounted AEP [MWh] |  | 77132.2466 | 69488.5105 | 62602.2617 | 56398.434 | 50809.4 | 45774.2342 | 41238.0488 | 37151.3953 | 33469.7255 | 30152.9059 | 27164.7801 | 24472.7748 | 22047.5449 | 19862.6531 | 17894.282 | 16120.9748 | 14523.4007 | 13084.1448 | 11787.5178 | 10619.3854 | 9567.0139 | 8618.9315 | 7764.8031 | 6995.3181 | 6302.0884 | 5677.5571 | 5114.9163 | 4608.0327 | 4151.3808 | 3739.9827 | 3369.3538 | 3035.4539 | 2734.6431 | 2463.6425 | 2219.4977 | 0 | 0 | 0 | 0 | 0
PV AEP [MWh] | 758157.2368
LCOE [EUR/MWh] | 46.734