## V162_6.2 MW
Wind farm installed capacity | 31.5 | MW |  |  | Gross AEP |  | 120537.1 | MWh/y |  | Loss efficiencies |  |  |  | Losses per turbine | Bat | Noise
Nr of WTGs | 7 |  |  |  | Losses |  | 13.1649 | % |  | Wakes | 93.2 |  |  | WTG1 | 0% | 0%
Lifetime | 35 | years |  |  | Uncertainty |  | 10 | % |  | Turbine availability | 97 |  |  | WTG2 | 0% | 0%
Opportunity cost of capital | 11 | % |  |  | Net P50 AEP |  | 104668.4558 | MWh/y |  | Electrical Losses | 98 |  |  | WTG3 | 0% | 0%
remuneration rate | 65 | EUR/MWh |  |  | Net P75 AEP |  | 97655.6693 | MWh/y |  | Turbine Performance | 99 |  |  | WTG4 | 0% | 0%
[5 empty] | Net P90 AEP |  | 91270.8935 | MWh/y |  | Degradation not due to icing | 99.5 |  |  | WTG5 | 0% | 0%
CAPEX | [9 empty] | Degradation due to icing | 99.5 |  |  | WTG6 | 0.5% | 0%
WTG Capex per MW | 1.05 | MEUR/MW | [7 empty] | Noise Curtailment | 100 |  |  | WTG7 | 0% | 0%
Other Capex per MW | 0.35 | MEUR/MW | [7 empty] | Shadow Curtailment | 100 |  |  | WTG8 | 0% | 0%
Total CAPEX | 1.4 | MEUR/MW | [7 empty] | Bat Curtailment | 100 |  |  | WTG9 | 0% | 0%
Total CAPEX | 44.1 | MEUR | Present value since payable upfront | [6 empty] | Total Efficiency | 86.8351 | % |  | WTG10 | 0% | 0%
OPEX | [9 empty] | Total Loss | 13.1649 | % |  | Sum | 0.5% | 0%
O&M | 80000 | EUR/WTG/y | [11 empty] | Efficiency | 99.5 | 100
Wind farm O&M | 560000 | EUR/y
Calculations
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
AEP [MWh] |  | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 104668.4558 | 0 | 0 | 0 | 0 | 0
AEP revenue [EUR] |  | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 6803449.6273 | 0 | 0 | 0 | 0 | 0
OPEX [EUR] |  | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | -560000 | 0 | 0 | 0 | 0 | 0
Net Revenue before taxes [EUR] |  | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 0 | 0 | 0 | 0 | 0
CAPEX [EUR] | -44100000
Cashflows [EUR] | -44100000 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 6243449.6273 | 0 | 0 | 0 | 0 | 0
PV Cashflows [EUR] | -44100000 | 5624729.3939 | 5067323.7783 | 4565156.557 | 4112753.655 | 3705183.473 | 3338003.1288 | 3007210.0259 | 2709198.2216 | 2440719.1185 | 2198846.0527 | 1980942.3898 | 1784632.7836 | 1607777.2826 | 1448448.0023 | 1304908.1102 | 1175592.8921 | 1059092.6956 | 954137.5636 | 859583.3906 | 774399.451 | 697657.1631 | 628519.9667 | 566234.2042 | 510120.9047 | 459568.3826 | 414025.5699 | 372996.009 | 336032.4405 | 302731.9284 | 272731.467 | 245704.0243 | 221354.9769 | 199418.8981 | 179656.6649 | 161852.8513 | 0 | 0 | 0 | 0 | 0
NPV [EUR] | 11187243.4178
NPV [EUR] | 11187243.4178
IRR | 14.01%
LCOE calculation
PV CAPEX | 44100000
discounted O&M cashflows[EUR] |  | 560000 | 504504.5045 | 454508.5626 | 409467.1735 | 368889.3455 | 332332.7437 | 299398.8682 | 269728.7101 | 242998.8379 | 218917.872 | 197223.3081 | 177678.656 | 160070.8612 | 144207.9831 | 129917.1019 | 117042.4341 | 105443.6343 | 94994.2652 | 85580.4191 | 77099.4766 | 69458.988 | 62575.6648 | 56374.4728 | 50787.8134 | 45754.7868 | 41220.5287 | 37135.6114 | 33455.5058 | 30140.0953 | 27153.239 | 24462.3775 | 22038.1779 | 19854.2143 | 17886.6796 | 16114.1257 | 0 | 0 | 0 | 0 | 0
PV OPEX | 5504417.0387
discounted AEP [MWh] |  | 104668.4558 | 94295.9061 | 84951.2668 | 76532.6728 | 68948.3539 | 62115.6341 | 55960.0307 | 50414.4421 | 45418.4163 | 40917.4922 | 36862.6056 | 33209.5546 | 29918.5176 | 26953.6195 | 24282.5401 | 21876.1622 | 19708.2543 | 17755.184 | 15995.6613 | 14410.5056 | 12982.4375 | 11695.8897 | 10536.8375 | 9492.6464 | 8551.9337 | 7704.4448 | 6940.9413 | 6253.1002 | 5633.4236 | 5075.1564 | 4572.213 | 4119.1108 | 3710.9106 | 3343.1627 | 3011.8583 | 0 | 0 | 0 | 0 | 0
PV AEP [MWh] | 1028819.342
LCOE [EUR/MWh] | 48.2149