## V162_6.2 MW
Wind farm installed capacity | 27 | MW |  |  | Gross AEP |  | 103401 | MWh/y |  | Loss efficiencies |  |  |  | Losses per turbine | Bat | Noise
Nr of WTGs | 6 |  |  |  | Losses |  | 11.581 | % |  | Wakes | 94.9 |  |  | WTG1 | 0% | 0%
Lifetime | 35 | years |  |  | Uncertainty |  | 10 | % |  | Turbine availability | 97 |  |  | WTG2 | 0% | 0%
Opportunity cost of capital | 11 | % |  |  | Net P50 AEP |  | 91426.0838 | MWh/y |  | Electrical Losses | 98 |  |  | WTG3 | 0% | 0%
remuneration rate | 65 | EUR/MWh |  |  | Net P75 AEP |  | 85300.5362 | MWh/y |  | Turbine Performance | 99 |  |  | WTG4 | 0% | 0%
[5 empty] | Net P90 AEP |  | 79723.5451 | MWh/y |  | Degradation not due to icing | 99.5 |  |  | WTG5 | 0% | 0%
CAPEX | [9 empty] | Degradation due to icing | 99.5 |  |  | WTG6 | 0.5% | 0%
WTG Capex per MW | 1.05 | MEUR/MW | [7 empty] | Noise Curtailment | 100 |  |  | WTG7 | 0% | 0%
Other Capex per MW | 0.35 | MEUR/MW | [7 empty] | Shadow Curtailment | 100 |  |  | WTG8 | 0% | 0%
Total CAPEX | 1.4 | MEUR/MW | [7 empty] | Bat Curtailment | 100 |  |  | WTG9 | 0% | 0%
Total CAPEX | 37.8 | MEUR | Present value since payable upfront | [6 empty] | Total Efficiency | 88.419 | % |  | WTG10 | 0% | 0%
OPEX | [9 empty] | Total Loss | 11.581 | % |  | Sum | 0.5% | 0%
O&M | 80000 | EUR/WTG/y | [11 empty] | Efficiency | 99.5 | 100
Wind farm O&M | 480000 | EUR/y
Calculations
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
AEP [MWh] |  | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 91426.0838 | 0 | 0 | 0 | 0 | 0
AEP revenue [EUR] |  | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 5942695.4472 | 0 | 0 | 0 | 0 | 0
OPEX [EUR] |  | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | 0 | 0 | 0 | 0 | 0
Net Revenue before taxes [EUR] |  | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 0 | 0 | 0 | 0 | 0
CAPEX [EUR] | -37800000
Cashflows [EUR] | -37800000 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 5462695.4472 | 0 | 0 | 0 | 0 | 0
PV Cashflows [EUR] | -37800000 | 4921347.2498 | 4433646.171 | 3994275.8297 | 3598446.6934 | 3241843.8679 | 2920580.0612 | 2631153.2083 | 2370408.2958 | 2135502.9692 | 1923876.5488 | 1733222.116 | 1561461.3658 | 1406721.9512 | 1267317.0731 | 1141727.0929 | 1028582.9666 | 926651.3212 | 834821.0101 | 752091.0001 | 677559.4596 | 610413.9275 | 549922.4572 | 495425.6372 | 446329.4028 | 402098.5611 | 362250.956 | 326352.2126 | 294011.0023 | 264874.7769 | 238625.9251 | 214978.3109 | 193674.154 | 174481.2198 | 157190.2881 | 141612.8722 | 0 | 0 | 0 | 0 | 0
NPV [EUR] | 10573477.9553
NPV [EUR] | 10573477.9553
IRR | 14.32%
LCOE calculation
PV CAPEX | 37800000
discounted O&M cashflows[EUR] |  | 480000 | 432432.4324 | 389578.768 | 350971.863 | 316190.8676 | 284856.6375 | 256627.6013 | 231196.0372 | 208284.7182 | 187643.8903 | 169048.5498 | 152295.9908 | 137203.5953 | 123606.8426 | 111357.5159 | 100322.0864 | 90380.258 | 81423.6559 | 73354.6449 | 66085.2657 | 59536.2754 | 53636.2841 | 48320.9767 | 43532.4114 | 39218.3887 | 35331.8817 | 31830.5241 | 28676.1478 | 25834.3674 | 23274.2049 | 20967.7521 | 18889.8668 | 17017.898 | 15331.4396 | 13812.1078 | 0 | 0 | 0 | 0 | 0
PV OPEX | 4718071.7475
discounted AEP [MWh] |  | 91426.0838 | 82365.8413 | 74203.4606 | 66849.9645 | 60225.1932 | 54256.9309 | 48880.1179 | 44036.1422 | 39672.2002 | 35740.7209 | 32198.8477 | 29007.9709 | 26133.3071 | 23543.5199 | 21210.3783 | 19108.4489 | 17214.8188 | 15508.8458 | 13971.9332 | 12587.3272 | 11339.9344 | 10216.1571 | 9203.7451 | 8291.6623 | 7469.966 | 6729.6991 | 6062.792 | 5461.9748 | 4920.698 | 4433.0613 | 3993.7489 | 3597.972 | 3241.4162 | 2920.1948 | 2630.8061 | 0 | 0 | 0 | 0 | 0
PV AEP [MWh] | 898655.8812
LCOE [EUR/MWh] | 47.313