## V162_6.2 MW
Wind farm installed capacity | 27 | MW |  |  | Gross AEP |  | 103387.3 | MWh/y |  | Loss efficiencies |  |  |  | Losses per turbine | Bat | Noise
Nr of WTGs | 6 |  |  |  | Losses |  | 84.1963 | % |  | Wakes | 96.3 |  |  | WTG1 | 0.4% | 0%
Lifetime | 35 | years |  |  | Uncertainty |  | 10 | % |  | Turbine availability | 97 |  |  | WTG2 | 0% | 35.4%
Opportunity cost of capital | 11 | % |  |  | Net P50 AEP |  | 16339.0503 | MWh/y |  | Electrical Losses | 98 |  |  | WTG3 | 0% | 35.3%
remuneration rate | 65 | EUR/MWh |  |  | Net P75 AEP |  | 15244.3339 | MWh/y |  | Turbine Performance | 99 |  |  | WTG4 | 0% | 34.8%
[5 empty] | Net P90 AEP |  | 14247.6519 | MWh/y |  | Degradation not due to icing | 99.5 |  |  | WTG5 | 0.5% | 0%
CAPEX | [9 empty] | Degradation due to icing | 99.5 |  |  | WTG6 | 0% | 35.3%
WTG Capex per MW | 1.05 | MEUR/MW | [7 empty] | Noise Curtailment | 17.6315 |  |  | WTG7 | 0% | 0%
Other Capex per MW | 0.35 | MEUR/MW | [7 empty] | Shadow Curtailment | 100 |  |  | WTG8 | 0% | 0%
Total CAPEX | 1.4 | MEUR/MW | [7 empty] | Bat Curtailment | 99.9 |  |  | WTG9 | 0% | 0%
Total CAPEX | 37.8 | MEUR | Present value since payable upfront | [6 empty] | Total Efficiency | 15.8037 | % |  | WTG10 | 0% | 0%
OPEX | [9 empty] | Total Loss | 84.1963 | % |  | Sum | 0.898% | 82.37%
O&M | 80000 | EUR/WTG/y | [11 empty] | Efficiency | 99.102 | 17.6315
Wind farm O&M | 480000 | EUR/y
Calculations
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
AEP [MWh] |  | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 16339.0503 | 0 | 0 | 0 | 0 | 0
AEP revenue [EUR] |  | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 1062038.2705 | 0 | 0 | 0 | 0 | 0
OPEX [EUR] |  | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | 0 | 0 | 0 | 0 | 0
Net Revenue before taxes [EUR] |  | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 0 | 0 | 0 | 0 | 0
CAPEX [EUR] | -37800000
Cashflows [EUR] | -37800000 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 582038.2705 | 0 | 0 | 0 | 0 | 0
PV Cashflows [EUR] | -37800000 | 524358.8023 | 472395.3173 | 425581.367 | 383406.6369 | 345411.3846 | 311181.4276 | 280343.6284 | 252561.8274 | 227533.1779 | 204984.8449 | 184671.0315 | 166370.2986 | 149883.1519 | 135029.8666 | 121648.5285 | 109593.2689 | 98732.6747 | 88948.3556 | 80133.6536 | 72192.4808 | 65038.271 | 58593.0369 | 52786.5197 | 47555.4232 | 42842.7236 | 38597.0483 | 34772.1156 | 31326.2302 | 28221.829 | 25425.0712 | 22905.4696 | 20635.5582 | 18590.5929 | 16748.2819 | 15088.5423 | 0 | 0 | 0 | 0 | 0
NPV [EUR] | -32645911.5616
NPV [EUR] | -32645911.5616
IRR | -3.106%
LCOE calculation
PV CAPEX | 37800000
discounted O&M cashflows[EUR] |  | 480000 | 432432.4324 | 389578.768 | 350971.863 | 316190.8676 | 284856.6375 | 256627.6013 | 231196.0372 | 208284.7182 | 187643.8903 | 169048.5498 | 152295.9908 | 137203.5953 | 123606.8426 | 111357.5159 | 100322.0864 | 90380.258 | 81423.6559 | 73354.6449 | 66085.2657 | 59536.2754 | 53636.2841 | 48320.9767 | 43532.4114 | 39218.3887 | 35331.8817 | 31830.5241 | 28676.1478 | 25834.3674 | 23274.2049 | 20967.7521 | 18889.8668 | 17017.898 | 15331.4396 | 13812.1078 | 0 | 0 | 0 | 0 | 0
PV OPEX | 4718071.7475
discounted AEP [MWh] |  | 16339.0503 | 14719.8651 | 13261.1398 | 11946.9728 | 10763.0385 | 9696.4311 | 8735.5235 | 7869.841 | 7089.9469 | 6387.3395 | 5754.3599 | 5184.108 | 4670.3676 | 4207.5384 | 3790.5751 | 3414.9325 | 3076.5158 | 2771.6359 | 2496.9692 | 2249.5218 | 2026.5962 | 1825.7624 | 1644.831 | 1481.8297 | 1334.9817 | 1202.6862 | 1083.5011 | 976.1271 | 879.3938 | 792.2467 | 713.7357 | 643.0052 | 579.2839 | 521.8774 | 470.1598 | 0 | 0 | 0 | 0 | 0
PV AEP [MWh] | 160601.691
LCOE [EUR/MWh] | 264.7424