## V162_6.2 MW
Wind farm installed capacity | 30 | MW |  |  | Gross AEP |  | 97246.7 | MWh/y |  | Loss efficiencies |  |  |  | Losses per turbine | Bat | Noise
Nr of WTGs | 6 |  |  |  | Losses |  | 11.1152 | % |  | Wakes | 95.4 |  |  | WTG1 | 0% | 0%
Lifetime | 35 | years |  |  | Uncertainty |  | 10 | % |  | Turbine availability | 97 |  |  | WTG2 | 0% | 0%
Opportunity cost of capital | 11 | % |  |  | Net P50 AEP |  | 86437.543 | MWh/y |  | Electrical Losses | 98 |  |  | WTG3 | 0% | 0%
remuneration rate | 65 | EUR/MWh |  |  | Net P75 AEP |  | 80646.2276 | MWh/y |  | Turbine Performance | 99 |  |  | WTG4 | 0% | 0%
[5 empty] | Net P90 AEP |  | 75373.5375 | MWh/y |  | Degradation not due to icing | 99.5 |  |  | WTG5 | 0% | 0%
CAPEX | [9 empty] | Degradation due to icing | 99.5 |  |  | WTG6 | 0.5% | 0%
WTG Capex per MW | 1.05 | MEUR/MW | [7 empty] | Noise Curtailment | 100 |  |  | WTG7 | 0% | 0%
Other Capex per MW | 0.35 | MEUR/MW | [7 empty] | Shadow Curtailment | 100 |  |  | WTG8 | 0% | 0%
Total CAPEX | 1.4 | MEUR/MW | [7 empty] | Bat Curtailment | 100 |  |  | WTG9 | 0% | 0%
Total CAPEX | 42 | MEUR | Present value since payable upfront | [6 empty] | Total Efficiency | 88.8848 | % |  | WTG10 | 0% | 0%
OPEX | [9 empty] | Total Loss | 11.1152 | % |  | Sum | 0.5% | 0%
O&M | 80000 | EUR/WTG/y | [11 empty] | Efficiency | 99.5 | 100
Wind farm O&M | 480000 | EUR/y
Calculations
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
AEP [MWh] |  | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 86437.543 | 0 | 0 | 0 | 0 | 0
AEP revenue [EUR] |  | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 5618440.2952 | 0 | 0 | 0 | 0 | 0
OPEX [EUR] |  | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | 0 | 0 | 0 | 0 | 0
Net Revenue before taxes [EUR] |  | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 0 | 0 | 0 | 0 | 0
CAPEX [EUR] | -42000000
Cashflows [EUR] | -42000000 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 5138440.2952 | 0 | 0 | 0 | 0 | 0
PV Cashflows [EUR] | -42000000 | 4629225.4911 | 4170473.4154 | 3757183.2572 | 3384849.7812 | 3049414.2173 | 2747220.0156 | 2474972.987 | 2229705.3937 | 2008743.5979 | 1809678.9171 | 1630341.3667 | 1468776.0061 | 1323221.6271 | 1192091.5559 | 1073956.3567 | 967528.2493 | 871647.0714 | 785267.6319 | 707448.317 | 637340.8262 | 574180.9245 | 517280.1121 | 466018.119 | 419836.1433 | 378230.7597 | 340748.4322 | 306980.5695 | 276559.0716 | 249152.3168 | 224461.5467 | 202217.6096 | 182178.0267 | 164124.3484 | 147859.7733 | 133207.003 | 0 | 0 | 0 | 0 | 0
NPV [EUR] | 3502120.8382
NPV [EUR] | 3502120.8382
IRR | 12%
LCOE calculation
PV CAPEX | 42000000
discounted O&M cashflows[EUR] |  | 480000 | 432432.4324 | 389578.768 | 350971.863 | 316190.8676 | 284856.6375 | 256627.6013 | 231196.0372 | 208284.7182 | 187643.8903 | 169048.5498 | 152295.9908 | 137203.5953 | 123606.8426 | 111357.5159 | 100322.0864 | 90380.258 | 81423.6559 | 73354.6449 | 66085.2657 | 59536.2754 | 53636.2841 | 48320.9767 | 43532.4114 | 39218.3887 | 35331.8817 | 31830.5241 | 28676.1478 | 25834.3674 | 23274.2049 | 20967.7521 | 18889.8668 | 17017.898 | 15331.4396 | 13812.1078 | 0 | 0 | 0 | 0 | 0
PV OPEX | 4718071.7475
discounted AEP [MWh] |  | 86437.543 | 77871.6604 | 70154.649 | 63202.3865 | 56939.0869 | 51296.4747 | 46213.0403 | 41633.3696 | 37507.5402 | 33790.5767 | 30441.961 | 27425.1901 | 24707.3785 | 22258.8995 | 20053.0626 | 18065.8222 | 16275.5155 | 14662.6266 | 13209.5735 | 11900.5167 | 10721.1862 | 9658.7263 | 8701.5552 | 7839.2389 | 7062.3774 | 6362.5022 | 5731.9839 | 5163.9495 | 4652.2068 | 4191.1773 | 3775.8354 | 3401.6535 | 3064.5527 | 2760.8583 | 2487.2597 | 0 | 0 | 0 | 0 | 0
PV AEP [MWh] | 849621.9366
LCOE [EUR/MWh] | 54.9869