## V162_6.2 MW
Wind farm installed capacity | 27 | MW |  |  | Gross AEP |  | 76707.8 | MWh/y |  | Loss efficiencies |  |  |  | Losses per turbine | Bat | Noise
Nr of WTGs | 6 |  |  |  | Losses |  | 14.5793 | % |  | Wakes | 97 |  |  | WTG1 | 0.4% | 0%
Lifetime | 35 | years |  |  | Uncertainty |  | 10 | % |  | Turbine availability | 97 |  |  | WTG2 | 0% | 0.8%
Opportunity cost of capital | 11 | % |  |  | Net P50 AEP |  | 65524.3056 | MWh/y |  | Electrical Losses | 98 |  |  | WTG3 | 0% | 0.8%
remuneration rate | 65 | EUR/MWh |  |  | Net P75 AEP |  | 61134.1771 | MWh/y |  | Turbine Performance | 99 |  |  | WTG4 | 0% | 0.5%
[5 empty] | Net P90 AEP |  | 57137.1944 | MWh/y |  | Degradation not due to icing | 99.5 |  |  | WTG5 | 0% | 0.8%
CAPEX | [9 empty] | Degradation due to icing | 99.5 |  |  | WTG6 | 0% | 2.3%
WTG Capex per MW | 1.05 | MEUR/MW | [7 empty] | Noise Curtailment | 94.897 |  |  | WTG7 | 0% | 0%
Other Capex per MW | 0.35 | MEUR/MW | [7 empty] | Shadow Curtailment | 100 |  |  | WTG8 | 0% | 0%
Total CAPEX | 1.4 | MEUR/MW | [7 empty] | Bat Curtailment | 99.6 |  |  | WTG9 | 0% | 0%
Total CAPEX | 37.8 | MEUR | Present value since payable upfront | [6 empty] | Total Efficiency | 85.4207 | % |  | WTG10 | 0% | 0%
OPEX | [9 empty] | Total Loss | 14.5793 | % |  | Sum | 0.4% | 5.103%
O&M | 80000 | EUR/WTG/y | [11 empty] | Efficiency | 99.6 | 94.897
Wind farm O&M | 480000 | EUR/y
Calculations
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
AEP [MWh] |  | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 65524.3056 | 0 | 0 | 0 | 0 | 0
AEP revenue [EUR] |  | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 4259079.8615 | 0 | 0 | 0 | 0 | 0
OPEX [EUR] |  | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | 0 | 0 | 0 | 0 | 0
Net Revenue before taxes [EUR] |  | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 0 | 0 | 0 | 0 | 0
CAPEX [EUR] | -37800000
Cashflows [EUR] | -37800000 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 3779079.8615 | 0 | 0 | 0 | 0 | 0
PV Cashflows [EUR] | -37800000 | 3404576.4518 | 3067185.9926 | 2763230.624 | 2489396.9585 | 2242699.9626 | 2020450.4168 | 1820225.6007 | 1639842.8835 | 1477335.9311 | 1330933.2713 | 1199038.9831 | 1080215.3001 | 973166.937 | 876726.9703 | 789844.1174 | 711571.2769 | 641055.2044 | 577527.2112 | 520294.7849 | 468734.0404 | 422282.9193 | 380435.0624 | 342734.2905 | 308769.6311 | 278170.8388 | 250604.3593 | 225769.693 | 203396.1199 | 183239.7476 | 165080.8537 | 148721.4898 | 133983.3242 | 120705.6975 | 108743.8716 | 97967.4519 | 0 | 0 | 0 | 0 | 0
NPV [EUR] | -4335341.7309
NPV [EUR] | -4335341.7309
IRR | 9.592%
LCOE calculation
PV CAPEX | 37800000
discounted O&M cashflows[EUR] |  | 480000 | 432432.4324 | 389578.768 | 350971.863 | 316190.8676 | 284856.6375 | 256627.6013 | 231196.0372 | 208284.7182 | 187643.8903 | 169048.5498 | 152295.9908 | 137203.5953 | 123606.8426 | 111357.5159 | 100322.0864 | 90380.258 | 81423.6559 | 73354.6449 | 66085.2657 | 59536.2754 | 53636.2841 | 48320.9767 | 43532.4114 | 39218.3887 | 35331.8817 | 31830.5241 | 28676.1478 | 25834.3674 | 23274.2049 | 20967.7521 | 18889.8668 | 17017.898 | 15331.4396 | 13812.1078 | 0 | 0 | 0 | 0 | 0
PV OPEX | 4718071.7475
discounted AEP [MWh] |  | 65524.3056 | 59030.9059 | 53180.9963 | 47910.8075 | 43162.8896 | 38885.4862 | 35031.9695 | 31560.3329 | 28432.7323 | 25615.0742 | 23076.6434 | 20789.7688 | 18729.5215 | 16873.4428 | 15201.2998 | 13694.8647 | 12337.7159 | 11115.0594 | 10013.567 | 9021.2315 | 8127.2356 | 7321.8339 | 6596.2468 | 5942.5646 | 5353.6618 | 4823.1188 | 4345.1521 | 3914.5514 | 3526.6229 | 3177.1377 | 2862.2862 | 2578.6363 | 2323.0957 | 2092.879 | 1885.4766 | 0 | 0 | 0 | 0 | 0
PV AEP [MWh] | 644059.1142
LCOE [EUR/MWh] | 66.0158