## V162_6.2 MW
Wind farm installed capacity | 30 | MW |  |  | Gross AEP |  | 97246.7 | MWh/y |  | Loss efficiencies |  |  |  | Losses per turbine | Bat | Noise
Nr of WTGs | 6 |  |  |  | Losses |  | 84.8912 | % |  | Wakes | 96.5 |  |  | WTG1 | 0% | 35.4%
Lifetime | 35 | years |  |  | Uncertainty |  | 10 | % |  | Turbine availability | 97 |  |  | WTG2 | 2.1% | 0%
Opportunity cost of capital | 11 | % |  |  | Net P50 AEP |  | 14692.8104 | MWh/y |  | Electrical Losses | 98 |  |  | WTG3 | 2.2% | 0%
remuneration rate | 65 | EUR/MWh |  |  | Net P75 AEP |  | 13708.3921 | MWh/y |  | Turbine Performance | 99 |  |  | WTG4 | 0% | 35.1%
[5 empty] | Net P90 AEP |  | 12812.1306 | MWh/y |  | Degradation not due to icing | 99.5 |  |  | WTG5 | 0% | 35.4%
CAPEX | [9 empty] | Degradation due to icing | 99.5 |  |  | WTG6 | 0% | 35.2%
WTG Capex per MW | 1.05 | MEUR/MW | [7 empty] | Noise Curtailment | 17.5503 |  |  | WTG7 | 0% | 0%
Other Capex per MW | 0.35 | MEUR/MW | [7 empty] | Shadow Curtailment | 100 |  |  | WTG8 | 0% | 0%
Total CAPEX | 1.4 | MEUR/MW | [7 empty] | Bat Curtailment | 95.75 |  |  | WTG9 | 0% | 0%
Total CAPEX | 42 | MEUR | Present value since payable upfront | [6 empty] | Total Efficiency | 15.1088 | % |  | WTG10 | 0% | 0%
OPEX | [9 empty] | Total Loss | 84.8912 | % |  | Sum | 4.254% | 82.45%
O&M | 80000 | EUR/WTG/y | [11 empty] | Efficiency | 95.7462 | 17.5503
Wind farm O&M | 480000 | EUR/y
Calculations
Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
AEP [MWh] |  | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 14692.8104 | 0 | 0 | 0 | 0 | 0
AEP revenue [EUR] |  | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 955032.674 | 0 | 0 | 0 | 0 | 0
OPEX [EUR] |  | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | -480000 | 0 | 0 | 0 | 0 | 0
Net Revenue before taxes [EUR] |  | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 0 | 0 | 0 | 0 | 0
CAPEX [EUR] | -42000000
Cashflows [EUR] | -42000000 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 475032.674 | 0 | 0 | 0 | 0 | 0
PV Cashflows [EUR] | -42000000 | 427957.3639 | 385547.1747 | 347339.797 | 312918.7361 | 281908.7712 | 253971.866 | 228803.4829 | 206129.2638 | 185702.0395 | 167299.1347 | 150719.9412 | 135783.7308 | 122327.6854 | 110205.122 | 99283.8937 | 89444.9492 | 80581.0354 | 72595.5273 | 65401.376 | 58920.1585 | 53081.2239 | 47820.9224 | 43081.9121 | 38812.5334 | 34966.2463 | 31501.1228 | 28379.3899 | 25567.018 | 23033.3495 | 20750.7653 | 18694.3832 | 16841.7866 | 15172.7808 | 13669.1719 | 12314.5692 | 0 | 0 | 0 | 0 | 0
NPV [EUR] | -37793471.7752
NPV [EUR] | -37793471.7752
IRR | -4.466%
LCOE calculation
PV CAPEX | 42000000
discounted O&M cashflows[EUR] |  | 480000 | 432432.4324 | 389578.768 | 350971.863 | 316190.8676 | 284856.6375 | 256627.6013 | 231196.0372 | 208284.7182 | 187643.8903 | 169048.5498 | 152295.9908 | 137203.5953 | 123606.8426 | 111357.5159 | 100322.0864 | 90380.258 | 81423.6559 | 73354.6449 | 66085.2657 | 59536.2754 | 53636.2841 | 48320.9767 | 43532.4114 | 39218.3887 | 35331.8817 | 31830.5241 | 28676.1478 | 25834.3674 | 23274.2049 | 20967.7521 | 18889.8668 | 17017.898 | 15331.4396 | 13812.1078 | 0 | 0 | 0 | 0 | 0
PV OPEX | 4718071.7475
discounted AEP [MWh] |  | 14692.8104 | 13236.7661 | 11925.0145 | 10743.2563 | 9678.6093 | 8719.4678 | 7855.3764 | 7076.9157 | 6375.5997 | 5743.7835 | 5174.5798 | 4661.7836 | 4199.805 | 3783.6081 | 3408.656 | 3070.8612 | 2766.5417 | 2492.3799 | 2245.3873 | 2022.8714 | 1822.4067 | 1641.8078 | 1479.1061 | 1332.5281 | 1200.4757 | 1081.5097 | 974.333 | 877.7775 | 790.7905 | 712.4239 | 641.8233 | 578.2192 | 520.9182 | 469.2957 | 422.7889 | 0 | 0 | 0 | 0 | 0
PV AEP [MWh] | 144420.2781
LCOE [EUR/MWh] | 323.4869